## Sheet1
Generator | Technology | Rated Apparent Power | Parallel Machines
Moneypoint | Coal | 339 MVA | 3
Ardnacrusha | Hydro | 96 MVA | 1
Load Bus | S [MVA] | P [MW] | Q [MVAr]
Limerick R | 63.4667 | 57.12 | 12.6297
Limerick I | 24.9796 | 24.48 | 4.9709
Total | 88.4463 | 81.6 | 17.6006
Galway R | 53.5111 | 48.16 | 10.6486
Galway I | 14.7429 | 14.448 | 2.9338
Total | 68.254 | 62.608 | 13.5824
Line | Voltage | Route | Length
| 400kV | Moneypoint-Oldstreet | 140km
| 132kV | Moneypoint-Limerick | 80km
| 132kV | Moneypoint-Galway | 120km
| 132kV | Ardnacrusha-Limerick | 15km
| 132kV | Ardnacrusha-Oldstreet | 70km
| 132kV | Oldstreet-Galway | 60km